March 2, 2012

J. Arthur Blessen, P.E.

J. Arthur Blessen Engineering

11930 Menaul Blvd NE, Suite 109

Albuquerque, NM 87112

Re:	Gate of Heaven Cemetery

Site Grading Plan

Engineer’s Stamp dated 6-9-12 (D19/D001A)

Dear Mr. Blessen,

Based upon the information provided in your submittal received 2-24-12, the above referenced plan cannot be approved for Building Permit until the following comments are addressed.

- Per approved grading plans dated 6/4/2002 and 11/21/94 basins B & C were to drain into ponds B & C which was then piped to the outfall at Bob White Lane at a rate of 13.7cfs. This plan should propose the same drainage scheme.

- Provide basin, pipe and pond calculations to support the above mentioned drainage scheme.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit.  The permit is available online at www.cabq.gov/Planning/landcoord/Hydrology

If you have any questions, you can contact me at 924-3986 or Rudy Rael at 924-3977.

Sincerely,

Curtis A. Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Building Services

RER/CAC

C:	file