Conversation with Dale Hoff, FEMA Region 6

9-12-12

Dale Hoff and I discussed the construction of the snack shack in the Mariposa Detention Facility this morning.

Items discussed:

- Since the construction of the Mariposa flood control facility, flood waters have never come up to this location.

- The ground elevation is at 5110 and the BFE is at 5118.

- The snack shack will not be built in a location where there is moving water.

- Dale provided construction techniques for the building.

  - The building can be concrete slab on grade.

  - The building can be constructed of steel that is well anchored to the slab.

  - The building must contain vents to pass flood waters through.

  - The electrical must be above the BFE or GFI protected.

  - We should address the sewage tanks.

  - He mentioned Technical Bulletin #7.

  - This information should be in the Floodplain Development Permit.

- Dale said to record that we spoke and that he was OK with this plan.

Curtis Cherne, P.E., CFM