September 6, 2012

Mr. Ronald R. Bohannan

Tierra West, LLC

5571 Midway Park Place NE

Albuquerque, New Mexico  87109

RE:	Dairy Queen at 6370 Coors NW – Grading & Drainage Plan for Building Permit

Bosque Plaza, Lot 6A		         		P.E. Stamp:  8/30/12   ( E12-D006A )

Dear Mr. Bohannan,

Based upon the information provided in your submittal received September 4, 2012, the subject Grading and Drainage Plan is approved Grading Permit and Building Permit.

Please attach a copy of this approved plan to the Building Permit plan sets prior to sign-off by Hydrology.

Prior to our release of a Certificate of Occupancy, an Engineer’s Certification of substantial compliance with this plan will be required, per the DPM checklist.

Since work on this site is also affecting Lot 5A, the disturbed area will likely exceed 1 acre. Hence this project may require a Storm Water Pollution Prevention Plan (SWPPP) and a NPDES permit for storm water discharge during construction.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports must comply with the requirements of the new permit.  Review at:

ftp://ftp.nmenv.state.nm.us/www/swqb/NPDES/Permits/NMS000101-AlbuquerqueMS4.pdf

If you have any questions, you may contact me by email at grolson@cabq.gov, or telephone 505-924-3695.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  E12/D006A

c.pdf	Addressee via Email  RRB@TierraWestllc.com

JWooten@TierraWestLLC.com

Kathy Verhage, COA/DMD KVerhage@cabq.gov