August 23, 2012

Mr. Ronald R. Bohannan

Attn: Jeff Wooten, PE

Tierra West, LLC

5571 Midway Park Place NE

Albuquerque, New Mexico  87109

RE:	Dairy Queen at 6370 Coors NW – Grading & Drainage Plan for Building Permit

Bosque Plaza, Lot 6A		         		P.E. Stamp:  8/7/12   ( E12-D006A )

Dear Mr. Bohannan,

Based upon the information provided in your submittal received August 8, 2012, the above referenced plan cannot be approved for Grading and Building Permit until the following comments are addressed:

- Sh. C2:  Provide a call-out and width on each curb opening to water harvesting areas.

- Sh. C2:  Provide reference point on the detail for the Bottom of Wall grades shown on the plan (what is footing depth below BW grade?).

- Sh. C2:  Per the DPM Chapter 22 Section 9, runoff from the trash enclosure pad is required to drain to the sanitary sewer.  Clarify that note on the Trash Enclosure pad drain.

- Sh. C2:  Label the Sidewalk along east property line.

- Sh. C2/C2A:  Plans call for grading and approximately 2’ of fill along portions of the west edge of Tract 5A, as well as grading and channel improvements along the south and east sides of that Tract.  Provide written confirmation of concurrence from the owner of Tract 5A, in support of the dated grading plan for this work.

- Sh. C2A:  The proposal for a curb opening on Bosque Plaza Lane is unacceptable as shown.  Per discussion, provide a COA Standard Sidewalk Culvert, per COA Stnd Dwg.  2236, extending to the property line, or at least 2’ south of the future back of sidewalk.  The call out should in clued recent amendment to tack weld the cover plate screws, after installation.

- Sh. C2A:  Include County Clerk recording information for the “7’ Private Drainage Easement.”

- Sh. C2A:  Section C appears to show off site grading on lot 4.  Provide dimensions for this offsite work, and written concurrence from the owner(s) of Lot 4 for this work.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit (http://www.cabq.gov/planning/landcoord/documents/EPA-NMS000101-FinalPermit.pdf).

If you have any questions, you can contact me at 924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  E12/D006A

c.pdf	Addressee via Email  RRB@tierrawestllc.com

JWooten@TierraWestLLC.com