December 13, 2017

David Soule, P.E.

Inspections Plus Inc.

4382 Alexander Blvd NE

Albuquerque, NM 87107

**Re: Legacy Home Healthcare**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 12-12-17 (E12E006F)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 12-13-17, the above referenced plan is approved to be included in the SWPPP and to apply for an ESC Permit for grading and Building Permit with the following conditions:

 1. A sediment BMP (silt fence or filter sock) is required at the downstream end

of the riprap rundowns. A sediment BMP is required along the entire eastern edge of the site.

2. Use the legend from the plan with stamp date 12-5-17, as it got shifted in the latest revision.

 Include a copy of the approved plan in the Building Permit set.

 If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email