|  | Date: 05/24/2019 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Legacy Home Health |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | The site looked good. No issues at the time of this inspection | 11/01/18 |  | 11/01/18 |
| 2 | Everything is in its place, no issues at this time | 11/14/18 |  | 11/14/18 |
| 3 | No issues at the time of this inspection | 11/30/18 |  | 11/30/18 |
| 4 | The site looked good. No issues at the time of this inspection | 12/14/18 |  | 12/14/18 |
| 5 | When the washout pit is 75% filled with hardened concrete it will be cleaned out. | 01/04/19 |  | 02/01/19 |
| 6 | Repair the cut on the silt fence at the East side of the site | 01/18/19 |  | 02/01/19 |
| 7 | No issues at the time of this inspection | 02/01/19 |  | 02/01/19 |
| 8 | The site looked good. No issues at the time of this inspection | 02/15/19 |  | 02/15/19 |
| 9 | No issues at the time of this inspection | 03/01/19 |  | 03/01/19 |
| 10 | No issues at the time of this inspection | 03/15/19 |  | 03/15/19 |
| 11 | Cleanup the concrete washed out next to the concrete washout pit | 03/29/19 |  | 04/12/19 |
| 12 | The trash containers needs to be emptied | 04/12/19 |  | 04/26/19 |
| 13 | Remove the blow away trash behind the building | 04/26/19 |  | 05/10/19 |
| 14 | The trash containers needs to be emptied | 05/10/19 |  | 05/24/19 |
| 15 | No issues at the time of this inspection | 05/24/19 |  | 05/24/19 |
| SWPPP Management Signature: Date: |  |  |  |  |