August 31, 2012

Glenn S. Broughton, P.E.

Bohannan Huston, Inc.

7500 Jefferson NE

Albuquerque, NM 87109

Re:	Andalucia Villas, Tract 4 and 6 North Andalucia

Grading and Drainage Plan

Engineer’s Stamp Date 6/04/2012 (E12/D015C)

Dear Mr. Sholtis,

Based upon the information provided in your submittal received 8/07/2012, the above referenced submittal can not be reviewed for Building Permit Approval until the following comments have been addressed:

- The existing retention pond (Pond B) located on the east of the school has to be reanalyzed to assure it has adequate ponding capacity as it was intended on the Master Drainage Plan.  Retention Ponds may be required for Andaluica Villas.

- The overflow form existing pond north of the school site (Pond A) to Pond B may have to be constructed.  Does Pond A have to be regarded?

- Recorded drainage easement is required for Pond B.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail