April 25, 2008

Jason Woodruff, P.E.

GND, LLC

5643 Paradise Blvd NW

Albuquerque, NM 87114

RE:	Sun Valley Commercial Center – Office Buildings 1 & 2		(E15-D012)

Revised Grading and Drainage Plan  	(PE Stamped 03-24-08)

Dear Mr. Wooduff:

Based upon the information provided in your submittal received 3/25/08, the above referenced Grading and Drainage Plan is approved for Foundation Permit, Building Permit, and Paving Permit, conditioned upon compliance with the NPDES/SWPPP requirements discussed below.   (Note that the Drainage Basins are not reflected on this plan, but remain as shown on the Grading and Drainage Plan stamped 7-13-07, which was approved for Site Plan for Building Permit.)

Please attach a copy of this approved plan to the Building Permit plan sets prior to requesting sign-off by Hydrology.

SWPPP:  This project requires a National Pollutant Discharge Elimination System (NPDES) permit.  You are required to send a copy of the P.E. certified Storm Water Pollution Prevention Plan (SWPPP) on a CD to City of Albuquerque, Storm Drainage Division at:

Department of Municipal Development, Storm Drainage Division

P.O. Box 1293, One Civic Plaza, Rm. 301,   Albuquerque, NM 87103

If you have any question concerning the SWPPP, please contact Kathy Verhage 768-3654.

Prior to Certificate of Occupancy approval, an Engineer’s Certification of compliance with this plan is required per the DPM.  Certification for CO must include certification of the Detention Pond and Lift Station construction required by the infrastructure list for platting.

If I can be of further assistance, please feel free to contact me at 924-3981.

Sincerely,

Gregory R. Olson, P.E.

XC:	Brad Bingham

Kathy Verhage, COA/DMD-Storm Drainage

file E15-D012