October 26, 2012

Philip E. Clark, P.E.

Clark Consulting Engineers

19 Ryan Road

Edgewood, NM 87015

Re:	SW Positioning, Inc., 609 Osuna Rd NE

Engineer’s Stamp dated 10-11-2012 (E16/D031)

Dear Mr. Clark,

The grading and drainage plan was submitted on 10-15-2012.  Sidewalk was modified, and the depressed landscaping area within the ROW was removed and marked on the original plan on 10/26/2012 by Mr. Clark.  Based on these modifications on the original, the Plan is approved for the proposed discharge into Osuna ROW.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail