November 29, 2011

David Soule, P.E.

Rio Grande Engineering

P.O. Box 67305

Albuquerque, NM 87193

Re:	Backer Works, 5809 Jefferson NE, Grading and Drainage Plan

Engineer’s Stamp date 11-16-11 (E17/D018)

Dear Mr. Soule,

Based upon the information provided in your submittal received 11-17-11, the above referenced plan is approved for Building Permit.

Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.

This is the plan to certify for release of Certificate of Occupancy.  When submitting the Certification, please change the lower FF elevation to FP.

If you have any questions, you can contact me at 924-3986.

Sincerely,

Curtis A. Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Building Services

C:	File