FASTrax

July 25, 2013

Richard J. Berry, Mayor

John Arthur Blessen, P.E.

J Arthur Blessen Engineering

2429 Zena Lona NE

Albuquerque, NM 87112

RE:	Array Tech Addition – 3901 Midway Place  NE  		File  E17-D034C

Drainage Report and Plan for Building Permit		 Stamp: 7/8/13

Dear Mr. Blessen,

Based upon the information provided in your submittal received July 10, 2013, the above referenced Drainage Report and Grading Plan is approved for Building Permit.  As discussed by telephone, please correct the “Existing Spillway” elevation, at the upper left from 5129.0 to 5126.0, and initial the correction.

Attach a copy of this approved plan to the Building Permit, construction sets prior to sign-off by Hydrology.

Prior to Certificate of Occupancy release, an Engineer’s Certification of the As-Built grading and drainage, per the DPM checklist will be required.  The Certification for C.O. must include Certification of the volume and elevations on the Existing Detention Pond A, at the NW corner of the site.

If you have questions, please contact me by email at  grolson@cabq.gov,  or telephone     505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  E17-D034C

c.pdf	Addressee via Email: JAB-Enginering@hotmail.com