March 2, 2018

Jake Bordenave, P.E.

Bordenave Designs.

P.O. Box 91194

Albuquerque, NM 87199

Re:	Homestead Suites

Erosion and Sediment Control Plan

Engineer’s Stamp Date 2-17-18 (E18E050)

Dear Mr. Bordenave,

Based upon the information provided in your submittal received 2-28-18, the above referenced plan is approved to be included in the SWPPP and to apply for an ESC Permit for grading and Building Permit and to be included in the Work Order construction plans with the following note:

If sediment enters the channel, it is to be removed by the end of each day.

Include a copy of the approved plan in the Building Permit set.

Include a copy of the approved plan in the Work Order construction plans.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C:	email