November 16, 2012

Philip W. Clark, P.E.

Clark Consulting Engineers

19 Ryan Road

Edgewood, NM 87015

Re:	North Town Plaza Restaurant, 5901 Wyoming

Final Certification of Occupancy – Approved

Engineer’s Stamp Date 6/01/2012 (E19/D015)

Dear Mr. Clark,

Based on the Certification received 11/14/2012, the site is approved for a release of a Permanent Certificate of Occupancy by Hydrology.  Please be advised that the handicap grades as shown on the as-built certification exceed 2% slope.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	CO Clerk—Katrina Sigala

e-mail