December 14, 2011

Yolanda Padilla Moyer, P.E.

Bohannan Houston Inc.

7500 Jefferson NE CY 1

Albuquerque, NM 87107

Re:	Tuscany Village, Grading Plan

Engineer’s Stamp Dated 12-8-11 (E22/D007G)

Dear Ms.  Moyer,

Based upon the information provided in your submittal dated 12-9-11, the above referenced plan cannot be approved for Platting action by the DRB until the following comments are addressed:

- This plan proposes grading on adjacent property to the south and has graded on adjacent property to the east to make it work.  Provide written approval from adjacent property owners.

- Per our conversation 12-14-11, the intent is to construct the retaining wall between the pads at the time the houses are built.  Add a note that the retaining walls are to be built by the home builder.

- The Grading Plan is to be certified and in substantial compliance prior to Building Permits being approved.

If you have any questions, you can contact me at 924-3986.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Building Services

# C:	file