March 4, 2019

Lelan Morrison, CPESC

Inspections Plus Inc.

805 Nikanda Rd NE

Albuquerque, NM 87107

**Re: PRESNow on Coors**

**Erosion and Sediment Control Plan**

**CPESC Stamp Date 2-20-19 (F11E019)**

Dear Mr. Morrison,

Based upon the information provided in your submittal received 2-28-19, the above referenced plan is approved to be included in the SWPPP and for NOI documentation review for grading and Building Permit with the following condition:

1. The drains for the roof flows will require inlet protection, between the time they are installed to the time they are connected to the drains from the roof.

 If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email