|  | Date: 09/05/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Jaynes Corp. / Presbyterian Healthcare Services for PRESNow on Coors |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 01 | BMP's in place prior to earth disturbing activities. NOI posted. | 03/21/19 |  | 03/21/19 |
| 02 | Install stabilized construction entrance per ECP. | 03/21/19 | 03/25/19 | 04/05/19 |
| 03 | Storm event on 03/31/19= 0.12" per Weather Underground: El Bosque at Andalucia. | 04/01/19 |  | 04/01/19 |
| 04 | No site BMP corrective actions noted at the time of inspection. BMP's in good working condition. Trackout pad in place. Privacy screening in place. Grading in progress. | 04/04/19 |  | 04/04/19 |
| 05 | No site BMP corrective actions noted at the time of inspection. Utility install in progress. Chavez concrete on site. Storm event on 04/17/19= 0.40" per Weather Underground: El Bosque at Andalucia. | 04/18/19 |  | 04/18/19 |
| 06 | No site BMP corrective actions noted at the time of inspection. Trailer locked at the time of inspection. Inspectors ECP updated to reflect current conditions. Storm event on 04/22/19= 0.20" per Weather Underground: El Bosque at Andalucia. | 05/02/19 |  | 05/02/19 |
| 07 | Storm events: 05/10-11/19= 0.30" cumulative events. Storm event report completed: 05/13/19. | 05/13/19 |  | 05/13/19 |
| 08 | No site BMP corrective actions noted at the time of inspection. Active watering, no offsite trackout evident from active work. TLC on site for adjacent project. BMP's in good working condition. | 05/16/19 |  | 05/16/19 |
| 09 | Remove concrete washout piles from the ground, south side of the concrete roll off system in staging area. | 05/31/19 |  | 06/13/19 |
| 10 | Install wattle at fence base where silt is not trenched in to the ground, south east corner; aprox. 50'. | 05/31/19 | 05/31/19 | 06/13/19 |
| 11 | No site BMP corrective actions noted at the time of inspection. Curb work in progress. | 06/13/19 |  | 06/13/19 |
| 12 | No site BMP corrective actions noted at the time of inspection. Structure work continues. | 06/20/19 |  | 06/20/19 |
| 13 | No site BMP corrective actions noted at the time of inspection. Concrete washout system clear of escaped sediment. Trackout pad working effectivly. Majority of work localized to the structure at this time. | 06/27/19 |  | 06/27/19 |
| 14 | No site BMP corrective actions noted at the time of inspection. | 07/05/19 |  | 07/05/19 |
| 15 | Storm events: 07/06-07/19= 0.50" cumulative events. Storm event report completed: 07/08/19. | 07/08/19 |  | 07/08/19 |
| 16 | No site BMP corrective actions noted at the time of inspection. TLC working directly west of property boundary. Slight sediment transfer from TLC over combined track out pad. Curb and gutter are clear of sediemnt build up. | 07/11/19 |  | 07/11/19 |
| 17 | No site BMP corrective actions noted at the time of inspection. Storm events: 07/18/19= 0.10" | 07/18/19 |  | 07/18/19 |
| 18 | No site BMP corrective actions noted at the time of inspection. Entrance on Western combined to adjacent project, TLC. No sign of excessive trackout from either site. | 07/25/19 |  | 07/25/19 |
| 19 | Storm events: 07/25/19= 0.15"; 07/26/19= 0.24". Separate storm events. | 07/26/19 |  | 07/26/19 |
| 20 | No site BMP corrective actions noted at the time of inspection. Curb work in final stages to South entrance on Coors. Final grading in progress in parking lot areas. TLC installing utilites along Western. | 08/01/19 |  | 08/01/19 |
| 21 | No site BMP corrective actions noted at the time of inspection. Site remains clean and organized. Drivepad install in progress at Western. Additional curb work continues on site as well. Storm events: 08/03/19= 0.15"; 08/06/19= 0.20". | 08/08/19 |  | 08/08/19 |
| 22 | No site BMP corrective actions noted at the time of inspection. Final in progress. Storm event on 08/08/19= 0.08"; 08/11/19= 0.10" per Weather Underground and on site gauge. | 08/15/19 |  | 08/15/19 |
| 23 | No site BMP corrective actions noted at the time of inspection. Base course in progress for paving. Landscapers on site. Storm event: 08/21/19= 0.15" | 08/22/19 |  | 08/22/19 |
| 24 | No site BMP corrective actions noted at the time of inspection. Main lot at structure paved. Concrete washout and dumpster staged for removal/ replacement. Storm event on 09/03/19= 0.08". | 09/05/19 |  | 09/05/19 |
| SWPPP Management Signature: Date: |  |  |  |  |