November 29, 2012

Jeffery G. Mortensen

High Mesa Consulting Group

6010-B Midway Park Blvd. NE

Albuquerque, NM 87109

Re: 	Douglas MacArthur Elementary School

Grading and Drainage Plan

Engineer’s Stamp date 11-27-12 (F14-D038)

Dear Mr. Mortensen,

Based upon the information provided in your submittal received 11-27-12, the above referenced plan is approved for Grading Permit, Paving Permit, Building Permit and SO-19 permit. Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM will be required.

A copy of this approval letter must be on hand when applying for the excavation/barricading permit. To obtain a permanent Certificate of Occupancy, the storm drain work (individualize) in the City ROW must be inspected and accepted.  Please contact Martin Pacheco, 235-8016, to schedule an inspection. Extend the sidewalk culvert two (2’) feet passed the property line and tack weld all bolts anchoring the plate cover.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit.  The permit is available online at

http://www.cabq.gov/planning/landcoord/documents/EPA-NMS000101-FinalPermit.pdf

If you have any questions, you can contact me at 924-3695 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

RR/SB

C:	emailed