November 16, 2012

Fred C. Arfman, P.E.

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, NM 87108

Re: 	Lot 10 Vista Faisan Subdivision

Grading and Drainage Plan

Engineer’s Stamp date 10-12-12 (F14-D057)

Dear Mr. Arfman,

Based upon the information provided in your submittal received 11-14-12, the above referenced plan is approved for Building Permit.

Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM will be required.

If you have any questions, you can contact me at 924-3695 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

RR/SB

C:	emailed