January 27, 2012

Fred C. Arfman, P.E.

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, NM 87108

Re: Mountain Mahogany Community School, 5014 4th Street NW,Grading and      Drainage Plan

Engineer’s Stamp date 01-13-12 (F14-D062)

Dear Mr. Arfman,

Based upon the information provided in your submittal received 01-17-12, the above referenced plan cannot be approved for Building Permit until the following comments are addressed:

- An approved Grading and Drainage plan is on file for this property and the proposed grading appears to impact the on-site retention ponds that were approved to contain the 100 yr, 10 day storm event.

- One of the existing structures was previously built without a permit and encroaches on one of the approved retention ponds.

- The proposed structures also appear to encroach on another on-site retention pond.

- Provide pond volume calculations to ensure proper water retention is maintained.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	file

CJH/SB