May 3, 2013

David Soule, P.E.

Rio Grande Engineering

P.O. Box 93924

Albuquerque, NM 87199

Re:	Casa de Oro Townhomes Grading and Drainage Plan, 921 & 923 Montano

Engineer’s Stamp Date 04-19-2013 (F-14/D068)

Dear Mr. Soule,

Based upon the information provided in your email received 04-19-13, the above referenced plan cannot be approved for Building until the following comments are addressed:

- Please provide back-of-sidewalk elevations on the grading plan.

- It appears that flows from the centrally located retention ponds might back up against the adjacent lot to the north.

- The plan shows two finished floor elevations for each of the building pads; please correct to show one finished floor and one finished pad.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	Email