|  | Date: 05/29/2019 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | ABQ North Storage |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Post the NOI at the entrance of the site | 08/13/18 |  | 08/20/18 |
| 2 | Install a rain gauge on site. | 08/13/18 |  | 08/20/18 |
| 3 | Install silt fence along the site perimeter. 08/20/18 The block wall will be built soon. | 08/13/18 |  | 10/22/18 |
| 4 | Have the Certification page and Delegation of Authority Letter sign by an Authorized Representative with THS Construction. ( David Murphy ) | 08/13/18 |  | 08/20/18 |
| 5 | No new issues at the time of this inspection | 08/27/18 |  | 08/27/18 |
| 6 | Install a concrete washout | 09/04/18 |  | 09/10/18 |
| 7 | 50-60 LF of silt fence will be replaced by Mulch sock on the south side of the site because the silt fence can not be re-installed by the existing trench. | 09/10/18 |  | 09/17/18 |
| 8 | No new issues at the time of this inspection | 09/17/18 |  | 09/17/18 |
| 9 | The site looked good. No new issues at the time of this inspection | 09/24/18 |  | 09/24/18 |
| 10 | No new issues at the time of this inspection | 10/08/18 |  | 10/08/18 |
| 11 | Sweep at the entrance of the site for off site tracking | 10/22/18 |  | 11/05/18 |
| 12 | No new issues at the time of this inspection | 11/05/18 |  | 11/05/18 |
| 13 | The concrete washout needs to be cleaned and replaced. | 11/26/18 |  | 12/24/18 |
| 14 | No new issues at the time of this inspection | 12/10/18 |  | 12/10/18 |
| 15 | No new issues at the time of this inspection | 12/24/18 |  | 12/24/18 |
| 16 | The site looked good. No new issues at the time of this inspection | 01/09/19 |  | 01/09/19 |
| 17 | No new issues at the time of this inspection | 01/23/19 |  | 01/23/19 |
| 18 | No new issues at the time of this inspection | 02/06/19 |  | 02/06/19 |
| 19 | The site looked good. No new issues at the time of this inspection | 02/20/19 |  | 02/20/19 |
| 20 | Cleanup the concrete washed out at the entrance of the site | 03/06/19 |  | 03/20/19 |
| 21 | No new issues at the time of this inspection | 03/20/19 |  | 03/20/19 |
| 22 | No new issues at the time of this inspection | 04/03/19 |  | 04/03/19 |
| 23 | The site looked good. No new issues at the time of this inspection | 04/17/19 |  | 04/17/19 |
| 24 | No new issues at the time of this inspection | 05/01/19 |  | 05/01/19 |
| 25 | No new issues at the time of this inspection | 05/15/19 |  | 05/15/19 |
| 26 | No new issues at the time of this inspection | 05/29/19 |  | 05/29/19 |
| SWPPP Management Signature: Date: |  |  |  |  |