## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | F16E003B1 |  | Project Name: |  | Curia New Mexico
NPDES Id. No. | NMR1005OE |  | Location: |  | 4401 Alexander Blvd NE
2026-01-16 |  | Owner |  |  |  | Contractor
Operator |  | Curia New Mexico |  |  |  | BE&K Builders Group LLC
Contact name & title |  | Jonathan Shoemaker |  |  |  | Norm Colton
e-mail |  | jon.shoemaker@curiaglobal.com |  |  |  | norm.colton@bekbg.com
Contact Phone # |  | 224-551-9187 |  |  |  | 732-606-6911
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 11am |  |  |  | Rain
Construction Phase: |  | stabilization | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 50 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2026-01-08 |  |  |  | Sleet
Item Number | Deficiency/ Corrective Action
1 | None
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Yes | Latest report Date: |  | 2026-01-07
Notes:
Most of the site is still paved but covered in sediment. Stormwater discharges into a pond on the north side of the site.
The site is near full stabilization. When the site is stabilized, file your NOT with the EPA and request a Determination of Stabilization from the City.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action