August 10, 2015

Ronald Bohannan, P.E.

Tierra West, LLC

5571 Midway Park Pl NE

Albuquerque, NM 87109

**Re: Dreamstyle Warehouse Renaissance Center**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 5-19-15 (F16E051A)**

Dear Mr. Bohannan,

Based upon the information provided in your submittal received 8-7-15 the above referenced plan is approved to be included in the SWPPP and for Grading Permit/Building Permit once Hydrology has approved the grading plan with the following comment:

1. Stormwater Quality did not receive a detail sheet with the submittal. Include a detail sheet, similar to other plans you have submitted, in the SWPPP.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email