September 8, 2014

Yolanda Padilla Moyer, P.E.

Bohannan Huston, Inc., CY1

7500 Jefferson NE

Albuquerque, NM 87109

**Re: Bubba’s 33, Additional Parking**

**Erosion Sediment Control (ESC) Plan (F17E006A)**

**Engineer’s Stamp Date 6/25/2014**

Dear Ms. Moyer,

Based upon your submittal received 7-21-14, the above referenced Erosion Sediment Control (ESC) plan is acceptable for Building Permit

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.

If you have any questions, you can contact me at 924-3999.

Sincerely,

Shahab Biazar, P.E.

Acting City Engineer, Planning Dept.

Development Review Services

C: e-mail