|  | Date: 03/25/20 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | TRU by Hilton Hotel |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Ensure there is a spill kit | 04/10/19 |  | 06/04/19 |
| 2 | Install a rain gauge | 04/10/19 |  | 07/02/19 |
| 3 | Install mulch socks per ECP | 04/10/19 |  | 05/07/19 |
| 4 | No new issues at the time of this inspection | 05/07/19 |  | 05/07/19 |
| 5 | Re-install the mulch sock at the NW side of the site That was removed by TLC Company | 05/21/19 |  | 06/04/19 |
| 6 | No new issues at the time of this inspection | 06/04/19 |  | 06/04/19 |
| 7 | No new issues at the time of this inspection | 06/18/19 |  | 06/18/19 |
| 8 | The site looked good at the time of this inspection. | 07/02/19 |  | 07/02/19 |
| 9 | The trash bin needs to be emptied | 07/16/19 |  | 08/14/19 |
| 10 | Repair the silt fence at the SW corner.Need to make sure the silt fence at the SW corner of the site is toed in ( bottom of fence is buried 6") and adjust the mulch sock. | 07/31/19 |  | 08/14/19 |
| 11 | No new issues at the time of this inspection | 08/14/19 |  | 08/14/19 |
| 12 | The site looked good at the time of this inspection. | 08/28/19 |  | 08/28/19 |
| 13 | No new issues at the time of this inspection | 09/11/19 |  | 09/11/19 |
| 14 | No new issues at the time of this inspection | 09/25/19 |  | 09/25/19 |
| 15 | The Trash bins need to be emptied | 10/09/19 |  | 11/20/19 |
| 16 | Empty the concrete washout | 10/23/19 |  | 11/06/19 |
| 17 | All sediment on Restaurant Ln. Needs to be swept | 11/06/19 |  | 11/20/19 |
| 18 | Install silt fence at the Southwest corner of the site to prevent runoff down the street | 11/20/19 |  | 12/04/19 |
| 19 | No Corrective Actions at this time, only maintenance | 12/04/19 |  | 12/18/19 |
| 20 | The trash bins need to be emptied | 12/18/19 |  | 01/02/20 |
| 21 | No Corrective Actions at this time, only maintenance | 01/02/20 |  | 01/29/20 |
| 22 | Install Mulch Socks per Plan | 01/14/2020 |  | 01/29/20 |
| 23 | Install Stockpile Protection | 01/14/2020 |  | 01/29/20 |
| 24 | Concrete/Paint washouts should be marked and utilized | 01/14/2020 |  | 01/29/20 |
| 25 | Remove Rasp Filings from inlet and around site | 01/14/2020 |  | 01/29/20 |
| 26 | No new issues at the time of this inspection | 01/29/2020 |  | 01/29/20 |
| 27 | The site looked good at the time of inspection | 02/12/20 |  | 02/12/20 |
| 28 | The site looked good at the time of inspection | 02/26/20 |  | 02/26/20 |
| 29 | Mulch sock needs to be adjusted where needed | 03/11/20 |  | 03/25/20 |
| 30 | Replace the silt fencing on the East side of the site | 03/11/20 |  | 03/25/20 |
| 31 | No new issues at the time of this inspection | 03/25/20 |  | 03/25/20 |
| SWPPP Management Signature: Date: |  |  |  |  |