March 14, 2019

Ron Bohannan, P.E.

Tierra West, LLC

5571 Midway Park Pl NE

Albuquerque, NM 87109

Re:	Maverik – 5001 Jefferson NE

Erosion Sediment Control Plan

Engineer’s Stamp Date 3-5-19 (F17E044C1)

Dear Mr. Bohannan,

Based upon the information provided in your submittal received 3-5-19, the above referenced plan is approved to be included in the SWPPP and for NOI documentation review for grading and Building Permit.

In the future, include proposed grades on the plan.  Proposed grades had to be transferred from the grading plan to this plan.

Include a copy of the approved plan in the Building Permit set.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C:	email