## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | F17E078 |  | Project Name: |  | Lexus of Albuquerque
NPDES Id. No. | NMR1005FJ/NMR1005UA |  | Location: |  | 4821 Pan American Fwy NE
2024-06-03 |  | Owner |  |  |  | Contractor
Operator |  | Group 1 Automotive |  |  |  | Snyder Construction
Contact name & title |  | Brad Johnson |  |  |  | Derrick Lind
e-mail |  | bjohnson1@group1auto.com |  |  |  | dlind@snyder-const.com
Contact Phone # |  | 281-243-8600/713-647-5700 |  |  |  | 719-432-5064
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 11:40am |  |  |  | Rain
Construction Phase: |  | Verticals | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 85 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2024-04-01 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | SWPPP - The self inspection reports were unavailable at the time of inspection in violation of CGP Part 4.7.3. Required mitigation: You must keep a copy of all inspection reports at the site or at an easily accessible location, so that it can be made immediately available at the time of inspection per CGP Part 4.7.3.
2 | Concrete washout was full and washout had overflowed onto the ground in violation of CGP Part 2.3.4. Required mitigation: Direct wash water into a leak-proof or leak-proof and lined pit designed so no overflows can occur due to inadequate sizing or precipitation. Do not allow liquid wastes to be disposed of through infiltration or to otherwise be disposed of on the ground. Remove and dispose of hardened concrete waste consistent with your handling of other construction wastes in Part 2.2.3.e per CGP Part 2.3.4.
3 | Perimeter fencing had been removed to provide an exit for vehicles that created a track-out shadow in violation of CGP Part 2.2.4. Required mitigation: Minimize track-out by restricting vehicle use to properly designated exit points and use appropriate stabilization techniques at all points that exit onto paved roads per CGP Part 2.2.4.
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Requested | Latest report Date: |  | N/A
Notes:
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action