March 26, 2012

David Soule, P.E.

Rio Grande Engineering

P.O. Box 93924

Albuquerque, NM 87199

Re:	Hampton @25 Grading and Drainage Plan

Engineer’s Stamp date 03-19-12 (F-17/D088)

Dear Mr. Soule,

Based upon the information provided in your submittal received 03-21-12, the above referenced plan cannot be approved for Building and Grading Permit until the following comments are addressed:

- Indicate the direction of roof flows on the plan.

- Provide details of cobble swale on the southern portion of the site.

- Water block symbol should be added to the legend as well as what appears to be a headwall on the southwest portion of the lot.

- Correct p.3 of the drainage report to indicate that the site drains from northeast to southwest.

- Please show basin boundaries on grading plan.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	File

CJH\SB