May 22, 2017

Hugh Floyd, P.E.

Inspections Plus Inc.

4382 Alexander Blvd NE

Albuquerque, NM 87107

**Re: Cool Springz Trampoline Park**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 5-17-17 (F17E095B)**

Dear Mr. Floyd,

Based upon the information provided in your submittal received 5-19-17, the above referenced plan is approved to be included in the SWPPP and to apply for an ESC Permit for grading and Building Permit with the following condition:

The inlet in the bottom of the pond at the north end should have the same inlet protection as the inlet in the middle of the pond.

Include a copy of the approved plan in the Building Permit set.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email