July 21, 2014

Mr. Graeme Means

High Mesa Consulting Group

6010-B Midway Park Blvd NE

Albuquerque, NM 87109

Re:	Del Norte High School Cafeteria

Grading and Drainage Plan

Engineer’s Stamp Date 6-25-14 (F18D054)

Dear Mr. Means,

Based upon the information provided in your submittal received June 25, 2014 and responses dated July 16 and 17, 2014, the above referenced plan is approved for Building Permit.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.

Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3994.

Sincerely,

Amy L.D. Niese, P.E.

Senior Engineer, Hydrology.

Planning Department

C:	e-mail