August 15, 2022

Mark Burak, PE

Burak Consulting

1512 Sagebrush Tr. SE

Corrales, NM 87123

**Re: Bosque on Eubank**

**5210 Eubank Blvd. NE**

**30-Day Temporary Certificate of Occupancy**

**Transportation Development Final Inspection**

Architect’s Stamp dated 9-2-20 (F21-D047A)

Certification dated 6-06-22

Dear Mrs. Burak,


Based upon the information provided in your submittal received 06-07-22, Transportation Development has no objection to a 30-day Temporary Certificate of Occupancy based. This letter serves as a “green tag” from Transportation Development for a 30-day Temporary Certificate of Occupancy to be issued by the Building and Safety Division.

Prior to the issuance of a permanent Certificate of Occupancy, the following items must be addressed:

* 6’ ADA pathway need to be provided from ADA aisle to the building entrance. Site plan showing 7’ – 8 1/8” but per site visit there is only 4’ have provided. Please see attached picture.
* Keynote 3: the new ADA ramps are not meeting the ADA requirements. The running slope for the landing area for both ADA ramps is 5.6% and 6.7%, which should not exceed the max. 2%. The cross slope for the ADA ramps’ wings (flared sides) exceeds the maximum (2%). Please rebuild the ADA ramps per city standard.
* Anchor down Bike Rack.
* The ADA accessible parking sign must have the required language per 66-7-352.4C NMSA 1978 **"Violators Are Subject to a Fine and/or Towing."** Please call out detail and location of signs. This language is missing for one of the signs.
* Please fix the site address on the Traffic Certification.

Once these corrections are complete, email pictures to [malnajjra@cabq.gov](mailto:malnajjra@cabq.gov) for release of Final CO.

If you have any questions, please contact me at (505) 924-3675.



Marwa Al-najjar

Associate Engineer, Planning Dept.

Development Review Services

ma via: email

C: CO Clerk, File