June 26, 2015

David Soule, P.E.

Rio Grande Engineering

9171 Glendale Ave NE

Albuquerque, NM 87122

**Re: Sandia Area Federal Credit Union**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 6-22-15 (F22E002)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 6-23-15 the above referenced plan is approved to be included in the SWPPP and for Grading Permit/Building Permit once the grading plan is approved by Hydrology with the following conditions:

1. Include a waddle at the base of the silt fence in the existing entrance onto Montgomery Blvd and the access on the west side.
2. Provide inlet protection for the three proposed inlets.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email, Jeff@inpsectionsplus.com