|  | Date: 05/14/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Lucero Residence |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Post the NOI | 05/14/19 |  |  |
| 2 | Install a rain gauge | 05/14/19 |  |  |
| SWPPP Management Signature: Date: |  |  |  |  |