March  6, 2013

Richard J. Berry, Mayor

Asa M. Nilsson-Weber, P.E.

FASTRAX

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, New Mexico  87108

RE:	WENDY’S at 3440 Coors NW					G11-D023

Grade & Drain Plan for SO-19 & Building Permit 		PE Stamp:  4/17/2013

Dear Ms. Nilsson-Weber,

Based upon the information provided in your submittal received April 18, 2013, the subject Grading and Drainage Plan is approved for SO-19, Private Improvements in Public R/W and for Building Permit.

DESIGN NOTE:  On future submittals, consider routing the paved area flows through the depressed landscaping prior to inlets, to enhance water quality in site runoff.

Please include a copy of this Grading Plan in the Building Permit plan set, prior to seeking Hydrology signoff.

A separate Excavation/Barricading Permit is required for SO-19 construction within City ROW.  A copy of this approval letter must be on hand when applying for the permit.  To obtain a Certificate of Occupancy, the storm drain work in the City R/W must be inspected and accepted.  Please contact Jason Rodriguez, 857-8074, to schedule an inspection.

Prior to Certificate of Occupancy release by Hydrology, an Engineer’s Certification of the Grading Plan per the DPM checklist will be required.  Note that the U-Shaped concrete channel detail should reference Keyed Note 11.

If you have questions, please email me at grolson@cabq.gov or phone 505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  G11/D023

c.pdf	Addressee via Email  AsaW@iacivil.com

Antoinette Baldonado, Excavation and Barricading, ABaldonado@cabq.gov

Jason Rodriguez, Street/Storm Drain Maintenance,  JTRodriguez@cabq.gov