CITY OF ALBUQUERQUE

PLANNING DEPARTMENT

DEVELOPMENT SERVICE / HYDROLOGY SECTION

DATE:   10-28-2008

CONFERENCE RECAP

ZONE ATLAS PAGE NO:	G-11

DRAINAGE FILE:   G-11 /  D 051

ZONING:  	_______________

DRB Case #:	_______________

SUBJECT:    Desert Hills Senior / Child Living facility

STREET ADDRESS (IF KNOWN):     5200 Sequoia Road  NW

SUBDIVISION NAME:     Corona del Sol,    Lot 22B1

APPROVAL REQUESTED: -- Walk-in Pre-Design Meeting in Preparation for Contract Proposal

ATTENDANCE: _ James Hewitt & Greg Olson __

FINDINGS / Comments:

- He is reviewing site conditions for proposed building and paving additions SE on the existing site.

- James acknowledged the need for at least a current topographic survey of the site.

- The latest submittal for this site was in 2004 for a portable building in the center of the developed area.  The Architectural layout proposed now shows at least one additional “temporary building” in that area, and James commented that there may be another one under the playground area which is not reflected on the layout plan.

- The drainage file contains an overall site GP-DP from 1992 by Mark Goodwin, with multiple phases of development; not all of which have been completed and vary from the current proposal.

- I recommended that he keep developed flows in the range of the previously approved discharge rates to avoid having to evaluate the capacity of the existing storm drain system in Sequoia.

- The possible site development presented by Mr. Hewitt included large landscaped/playground areas which may double as detention or water harvesting areas.

- If he gets the contract he will return for a more formal Pre-Design session.

THE UNDERSIGNED AGREES THAT THE ABOVE FINDINGS ARE SUMMARIZED ACCURATELY AND ARE SUBJECT TO CHANGE IF FURTHER INVESTIGATION REVEALS THAT THEY ARE NOT REASONABLE OR THAT THEY ARE BASED ON INACCURATE INFORMATION.

SIGNED:  					SIGNED:

NAME (PRINT):  Greg Olson			NAME (PRINT):

**NOTE** PLEASE PROVIDE A COPY OF THIS RECAP WITH YOUR DRAINAGE SUBMITTAL.