February 4, 2013

Dennis Lorenz, PE

Brasher & Lorenz, Inc.

2201 San Pedro NE

Albuquerque, NM 87110

Re:	Rio Grande Housing

Grading and Drainage Plan

2334 Rio Grande Blvd. NW, Engineer’s Stamp dated 1-25-13 (G12/D033)

Dear Mr. Lorenz,

Based upon the information provided in your submittal received 1-28-13, the above referenced plan can not be approved for Grading and Drainage Plan until the following comments are addressed.

- Show all roof flows on the drainage plan. Are the roof flows draining to the cisterns and how?

- Cross lot drainage easements must be provided.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge and a Topsoil Disturbance Permit since it is disturbing ¾ of an acre or more.

Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3695 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

RR/SB

C:	email