May 8, 2015

Troy Kelts, P.E.

Merrick & Company

5970 Greenwood Plaza Blvd

Greenwood Village, CO 80111

**Re: Chick-fil-A, Wyoming**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 3-18-15 (H20E003C)**

Dear Mr. Kelts,

Based upon the information provided in your submittal received 4-22-15 the above referenced plan is acceptable to be included in the SWPPP and for Grading and Building Permit once the grading plan is approved by Hydrology.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email