|  | Date: 01/04/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Campbell Compound |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Post the NOI at the entrance of the site | 03/29/18 |  | 04/12/18 |
| 2 | Post a rain gauge | 03/29/18 |  | 04/12/18 |
| 3 | Ensure the Certification and Delegation letter in the SWPPP book have been signed | 04/12/18 |  | 11/30/18 |
| 4 | No new issues at the time of this inspection | 04/26/18 |  | 04/26/18 |
| 5 | No construction activity. No new issues | 05/10/18 |  | 05/10/18 |
| 6 | No new issues at the time of this inspection | 06/07/18 |  | 06/07/18 |
| 7 | The site looked good | 06/19/18 |  | 06/19/18 |
| 8 | No new issues at the time of this inspection | 06/26/18 |  | 06/26/18 |
| 9 | No new issues at the time of this inspection | 07/05/18 |  | 07/05/18 |
| 10 | The site looked good, No new issues at the time of this inspection | 07/12/18 |  | 07/12/18 |
| 11 | Sweep the street at the entrance of the site | 07/19/18 |  | 07/26/18 |
| 14 | No new issues at the time of this inspection | 07/26/18 |  | 07/26/18 |
| 15 | No new issues at the time of this inspection | 08/03/18 |  | 08/03/18 |
| 16 | Need to know where the SWPPP book is located. It should be kept on site or easily accessible | 08/09/18 |  | 11/30/18 |
| 17 | Empty the concrete washout | 08/16/18 |  | 08/23/18 |
| 18 | No new issues at the time of this inspection | 08/23/18 |  | 08/23/18 |
| 19 | The site looked good, No new issues at the time of this inspection | 08/30/18 |  | 08/30/18 |
| 20 | No new issues at the time of this inspection | 09/06/18 |  | 09/06/18 |
| 21 | Re-install the silt fence at the NE corner of the site. 11/08/18 Silt Fence was removed for sidewalk installation | 09/13/18 |  | 11/08/18 |
| 22 | No new issues at the time of this inspection | 09/20/18 |  | 09/20/18 |
| 23 | Empty the concrete washout | 09/27/18 |  | 10/11/18 |
| 24 | Cleanup the concrete washed out next to the concrete washout bin. | 10/11/18 |  | 11/08/18 |
| 25 | No new issues at the time of this inspection | 10/26/18 |  | 10/26/18 |
| 26 | No new issues at the time of this inspection | 11/08/18 |  | 11/08/18 |
| 27 | The site looked good, No new issues at the time of this inspection | 11/30/18 |  | 11/30/18 |
| 28 | No construction activity at this time. No new issues. | 12/14/18 |  | 12/14/18 |
| 29 | No new issues at the time of this inspection | 01/04/19 |  | 01/04/19 |
| SWPPP Management Signature: Date: |  |  |  |  |