|  | Date: 10/07/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Campbell Compound |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Post the NOI at the entrance of the site | 03/29/18 |  | 04/12/18 |
| 2 | Post a rain gauge | 03/29/18 |  | 04/12/18 |
| 3 | Ensure the Certification and Delegation letter in the SWPPP book have been signed | 04/12/18 |  | 11/30/18 |
| 4 | No new issues at the time of this inspection | 04/26/18 |  | 04/26/18 |
| 5 | No construction activity. No new issues | 05/10/18 |  | 05/10/18 |
| 6 | No new issues at the time of this inspection | 06/07/18 |  | 06/07/18 |
| 7 | The site looked good | 06/19/18 |  | 06/19/18 |
| 8 | No new issues at the time of this inspection | 06/26/18 |  | 06/26/18 |
| 9 | No new issues at the time of this inspection | 07/05/18 |  | 07/05/18 |
| 10 | The site looked good, No new issues at the time of this inspection | 07/12/18 |  | 07/12/18 |
| 11 | Sweep the street at the entrance of the site | 07/19/18 |  | 07/26/18 |
| 14 | No new issues at the time of this inspection | 07/26/18 |  | 07/26/18 |
| 15 | No new issues at the time of this inspection | 08/03/18 |  | 08/03/18 |
| 16 | Need to know where the SWPPP book is located. It should be kept on site or easily accessible | 08/09/18 |  | 11/30/18 |
| 17 | Empty the concrete washout | 08/16/18 |  | 08/23/18 |
| 18 | No new issues at the time of this inspection | 08/23/18 |  | 08/23/18 |
| 19 | The site looked good, No new issues at the time of this inspection | 08/30/18 |  | 08/30/18 |
| 20 | No new issues at the time of this inspection | 09/06/18 |  | 09/06/18 |
| 21 | Re-install the silt fence at the NE corner of the site. 11/08/18 Silt Fence was removed for sidewalk installation | 09/13/18 |  | 11/08/18 |
| 22 | No new issues at the time of this inspection | 09/20/18 |  | 09/20/18 |
| 23 | Empty the concrete washout | 09/27/18 |  | 10/11/18 |
| 24 | Cleanup the concrete washed out next to the concrete washout bin. | 10/11/18 |  | 11/08/18 |
| 25 | No new issues at the time of this inspection | 10/26/18 |  | 10/26/18 |
| 26 | No new issues at the time of this inspection | 11/08/18 |  | 11/08/18 |
| 27 | The site looked good, No new issues at the time of this inspection | 11/30/18 |  | 11/30/18 |
| 28 | No construction activity at this time. No new issues. | 12/14/18 |  | 12/14/18 |
| 29 | No new issues at the time of this inspection | 01/04/19 |  | 01/04/19 |
| 30 | No new issues at the time of this inspection | 01/18/19 |  | 01/18/19 |
| 31 | The site looked good, No new issues at the time of this inspection | 02/01/19 |  | 02/01/19 |
| 32 | Cleanup the concrete washed out in lot 2 | 02/15/19 |  | 03/29/19 |
| 33 | Remove the blow away trash in 2701 Kayla Ln. | 03/01/19 |  | 03/15/19 |
| 34 | Empty the concrete washout | 03/15/19 |  | 03/29/19 |
| 35 | No new issues at the time of this inspection | 03/29/19 |  | 03/29/19 |
| 36 | The site looked good, No new issues at the time of this inspection | 04/12/19 |  | 04/12/19 |
| 37 | No new issues at the time of this inspection | 04/26/19 |  | 04/26/19 |
| 38 | No new issues at the time of this inspection | 05/10/19 |  | 05/10/19 |
| 39 | Empty the concrete washout | 05/24/19 |  | 06/07/19 |
| 40 | Re-post the NOI | 05/24/19 |  | 06/21/19 |
| 41 | Cleanup the concrete washed out behind lot 5 - 2704 Kayla Ln. | 05/24/19 |  | 06/21/19 |
| 42 | Cleanup the white stuff washedout in 2713 Kayla Ln. ( Use the concrete wash out ) | 06/07/19 |  | 06/21/19 |
| 43 | No new issues at the time of this inspection | 06/21/19 |  | 06/21/19 |
| 44 | No new issues at the time of this inspection | 06/28/19 |  | 06/28/19 |
| 45 | The site looked good, No new issues at the time of this inspection | 07/08/19 |  | 07/08/19 |
| 46 | Clean up the concrete washed out next to the CWO container | 07/16/19 |  | 07/30/19 |
| 47 | Empty the concrete washout | 07/23/19 |  | 07/30/19 |
| 48 | No new issues at the time of this inspection | 07/30/19 |  | 07/30/19 |
| 49 | Trash in 2708 Kayla Ln needs to be removed | 08/06/19 |  | 09/10/19 |
| 50 | No new issues at the time of this inspection | 08/13/19 |  | 08/13/19 |
| 51 | Kayla Ln. needs to be sweeped | 08/20/19 |  | 08/27/19 |
| 52 | Empty the concrete washout | 08/27/19 |  | 09/04/19 |
| 53 | No new issues at the time of this inspection | 09/04/19 |  | 09/04/19 |
| 54 | No new issues at the time of this inspection | 09/10/19 |  | 09/10/19 |
| 55 | The site looked good | 09/17/19 |  | 09/17/19 |
| 56 | The site looked good, No new issues at the time of this inspection | 09/24/19 |  | 09/24/19 |
| 57 | Pickup the concrete right next to the concrete washout. | 10/07/19 |  |  |
| SWPPP Management Signature: Date: |  |  |  |  |