October 9, 2015

Philip W. Clark, PE

Clark Consulting Engineers

19 Ryan Rd

Edgewood, NM 87015

Re:	The Baca Duplexes

4421 12th St NW

Request Permanent C.O.  – Not Accepted

Engineer’s Stamp dated: 7-8-14 (G14D080)

Certification dated: 10-7-15

Dear Mr. Clark,

Based on the Certification received on 10/8/2015, cannot be accepted for release of Certificate of Occupancy by Hydrology until the following comments are addressed.

- The site does not drain with substantial compliance; swales need to be added to the north and south of each duplex for drainage into ponds on the east and west.

- Provide ponds in the landscaped areas in the east and west of the duplexes.

- Provide rain gutters on each duplex on the north and south sides. This will prevent flows from entering the adjacent properties.

If you have any questions, you can contact me at 924-3999 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.

City Engineer, COA

Planning Department

RR/SB

C:	email