November 27, 2012

Graeme Means, P.E.

High Mesa Consulting Group

6010-B Midway Park NE

Albuquerque, NM 87109

Re: 	Respite Care Addition 715 Candelaria NE

Grading and Drainage Plan

Engineer’s Stamp dated 11/19/12 (G15/D001)

Dear Mr. Means,

Based upon the information provided in your submittal received 11-26-12, the above referenced project is approved for building permit. Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.

Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit.  The permit is available online at

http://www.cabq.gov/planning/landcoord/documents/EPA-NMS000101-FinalPermit.pdf

If you have any questions, you can contact me at 924-3695 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Department.

Development and Building Services

RR/SB

# C:	Email