March 6, 2008

Jeffrey G. Mortensen, P.E.

High Mesa Consulting Group

6010-B Midway Park Blvd. NE

Albuquerque, NM 87109

RE:	Westwind Landscaping Phase 2 – Building Addition   (G16 – D 82 B3)

Grading and Drainage Plan  	(PE Stamped 01-21-08)

Dear Mr. Mortensen:

We acknowledge receipt of E-mail this date from Lynn Mazur at AMAFCA approving this work adjacent to their North Diversion Channel R/W.  Based upon the information provided in your submittal received 1/21/08, the above referenced plan is hereby approved for Building Permit.

Please attach a copy of this approved plan to the Building Permit plan sets prior to requesting sign-off  by the Hydrology Section.

Prior to Certificate of Occupancy approval, an Engineer’s Certification of compliance with this plan is required per the DPM.

If I can be of further assistance, please feel free to contact me at 924-3981.

Sincerely,

Gregory R. Olson, P.E.

Hydrology Section

XC:	Brad Bingham, COA-Hydrology

file G16-D 82 B3