|  | Date: 07/24/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | MJ Hospitality LLC Self Storage |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Post the NOI at the entrance of the site | 01/11/18 |  | 02/22/18 |
| 2 | Have an authorized representative from Afra Construction sign the Certification and Delegation Letter in the SWPPP Book | 01/11/18 |  | 03/08/18 |
| 3 | Install another row of silt fence at the west side of the site to keep the soil in place. 02/08/18 Dirt against the fence was removed. | 01/25/18 |  | 02/08/18 |
| 4 | Repair the silt fence at the entrance of the site and install approx.15-20' south side of the rock pad entrance. | 01/25/18 |  | 02/22/18 |
| 5 | No new issues at the time of this inspection | 02/08/18 |  | 02/08/18 |
| 6 | The site looked good. No new issues at the time of this inspection | 02/22/18 |  | 02/22/18 |
| 7 | No new issues at the time of this inspection | 03/08/18 |  | 03/08/18 |
| 8 | No construction activity at the time of this inspection | 03/22/18 |  | 03/22/18 |
| 9 | Construction Resumed. No new issues | 04/05/18 |  | 04/05/18 |
| 10 | No new issues at the time of this inspection | 04/19/18 |  | 04/19/18 |
| 11 | Remove the dirt up against the silt fence at The SW corner of the site | 05/04/18 |  | 08/17/18 |
| 12 | No new issues at the time of this inspection | 05/17/18 |  | 05/17/18 |
| 13 | No new issues at the time of this inspection | 05/31/18 |  | 05/31/18 |
| 14 | No construction activity at the time of this inspection | 06/14/18 |  | 06/14/18 |
| 15 | Replace the damaged silt fence when entering to leave the trailer and the conex boxes. | 06/21/18 |  | 12/14/18 |
| 16 | No new issues at the time of this inspection | 06/27/18 |  | 06/27/18 |
| 17 | No new issues at the time of this inspection | 07/06/18 |  | 07/06/18 |
| 18 | No new issues at the time of this inspection Address previous issues | 07/13/18 |  | 07/13/18 |
| 19 | Install a concrete washout on site | 07/20/18 |  | 08/17/18 |
| 20 | No new issues at the time of this inspection Address previous issues | 07/27/18 |  | 07/27/18 |
| 21 | Cleanup the concrete mess on the sidewalk | 08/03/18 |  | 08/23/18 |
| 22 | Clean up the concrete washed out on site | 08/10/18 |  | 08/23/18 |
| 23 | No new issues at the time of this inspection | 08/17/18 |  | 08/17/18 |
| 24 | No new issues at the time of this inspection | 08/23/18 |  | 08/23/18 |
| 25 | Replace the silt fence on south side of the entrance | 08/31/18 |  | 12/14/18 |
| 26 | The silt fence at the West side of the site needs to be replaced | 09/07/18 |  | 12/14/18 |
| 27 | No new issues at the time of this inspection Address previous issues | 09/14/18 |  | 09/14/18 |
| 28 | No new issues at the time of this inspection Address previous issues | 09/20/18 |  | 09/20/18 |
| 29 | No construction activity at the time of this inspection | 09/28/18 |  | 09/28/18 |
| 30 | Install silt fence where missing on the west side of the site | 10/26/18 |  | 12/14/18 |
| 31 | No new issues at the time of this inspection Address previous issues | 11/09/18 |  | 11/09/18 |
| 32 | Place a mulch sock were the dirt is against the chain link fence west side of the site, 12/14/18 They have removed the dirt and installed silt fence. | 11/30/18 |  | 12/14/18 |
| 33 | No new issues at the time of this inspection | 12/14/18 |  | 12/14/18 |
| 34 | The site looked good. No new issues at the time of this inspection | 01/04/19 |  | 01/04/19 |
| 35 | Repair or replace the silt fence at the West side of the site approx. 35' | 01/18/19 |  | 03/01/19 |
| 36 | No new issues at the time of this inspection | 02/01/19 |  | 02/01/19 |
| 37 | No new issues at the time of this inspection | 02/15/19 |  | 02/15/19 |
| 38 | The site looked good. No new issues at the time of this inspection | 03/01/19 |  | 03/01/19 |
| 39 | Need to make sure the silt fence at the west side of the site is toed in ( bottom of fence is buried 4") | 03/15/19 |  | 04/26/19 |
| 40 | No new issues at the time of this inspection Address previous issues | 03/29/19 |  | 03/29/19 |
| 41 | No new issues at the time of this inspection Address previous issues | 04/12/19 |  | 04/12/19 |
| 42 | Cleanup the concrete washed out mess on the east side of the site. | 04/26/19 |  | 05/10/19 |
| 43 | No new issues at the time of this inspection | 05/10/19 |  | 05/10/19 |
| 44 | Repair the silt fencing at the southeast side of the site approx. 40' | 05/24/19 |  | 06/28/19 |
| 45 | Remove the blow away trash around the building | 06/07/19 |  | 06/21/19 |
| 46 | The trash bin needs to be emptied | 06/21/19 |  | 07/24/19 |
| 47 | No new issues at the time of this inspection | 06/28/19 |  | 06/28/19 |
| 48 | The trash bin needs to be emptied | 07/08/19 |  | 07/24/19 |
| 49 | Repair the silt fencing at the west side of the site approx 12' | 07/17/19 |  |  |
| 50 | No new issues at the time of this inspection | 07/24/19 |  | 07/24/19 |
| SWPPP Management Signature: Date: |  |  |  |  |