January 15, 2013

Dennis Lorenz, P.E.

Brasher & Lorrenz, Inc.

2207 San Pedro NE Bldg. 1 Ste. 1200

Albuquerque, NM 87110

Re:	Goodrich Roofing

Grading and Drainage Plan

Engineer’s Stamp dated 1-10-13 (G16/D147)

Dear Mr. Lorrenz,

Based upon the information provided in your submittal received 1-10-13, the above referenced plan is approved for Grading Permit and Building Permit. Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.

Hydrology is requesting that proposed landscape areas be depressed to retain/infiltrate the moisture which falls on them. Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3695 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.,CFM

Senior Engineer, Planning Dept.

Development and Building Services

RER/SB

# C:	file