July 24, 2013

David Soule, P.E.

Rio Grande Engineering

P.O. Box 93924

Albuquerque, NM 87199

Re:	Lafayette Apartments Grading and Drainage Plan

Engineer’s Stamp Date 05-15-2013 (G-16/D148)

Dear Mr. Soule,

Based upon the information provided in your submittal received 07-08-13, the above referenced plan is approved for Building Permit. Please attach a copy of this approved plan to the construction sets when submitting for a building permit. If the approved plan is not attached to the construction set, Hydrology will reject the construction set for building permit. Per your request in the letter dated 07-08-2013 this stamp dated plan will replace the previously approved 05-14-13 plan.

Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required. If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	Email