February 6, 2014

Scott McGee, P.E.

Scott M. McGee PE

9700 Tanoan Dr. NE

Albuquerque, New Mexico 87111

RE: **McKinley Middle School**

**Grading and Drainage Plan**

**Engineers Stamp Date 1/30/14 (G17D019)**

Dear Mr. McGee,

Based upon the information provided in your submittal received 1/30/14, the above referenced Grading and Drainage Plan is approved for Building Permit.

Please attach a copy of this approved plan to each of the Building Permit sets, prior to seeking approval by Hydrology section.

Prior to Certificate of Occupancy release, an Engineer Certification of the as-constructed, Grading and Drainage Plan will be required, per the DPM checklist.

If you have any questions, please contact me at 924-3986 or Rudy Rael at 924-3977.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Hydrology

Planning Department

RR/SB

C: File