## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | G19E004A |  | Project Name: |  | Wymont Subdivision
NPDES Id. No. | NMR10044X |  | Location: |  | Wyoming and Montgomery
2025-04-02 |  | Owner |  |  |  | Contractor
Operator |  | Wymont LLC. |  |  |  | AMREP Southwest Inc
Contact name & title |  | Jarrod Likar VP |  |  |  | Jarrod Likar
e-mail |  | jarrodl@aswinc.com |  |  |  | jarrodl@aswinc.com
Contact Phone # |  | 505-896-9037 |  |  |  | 505-896-9037
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 11:30am |  |  |  | Rain
Construction Phase: |  | Residential - verticals, commercial lots have been hydroseeded | [9 empty] | Clear/ Windy
Type of Inspection: |  | regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | clear |  | Temperature: ~ |  |  | 90 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [5 empty] | 2025-07-03 |  |  |  |  | 2021-02-22 | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action | [9 empty] | 2021-04-28
1 | SWPPP - The SWPPP is out-of-date and needs to be brought current. The NOIs and the copy of the CGP in the SWPPP is the 2017 version and needs to be updated to the current 2022 CGP and NOIs in violation of CGP Part 7.2.11. There were no inspection reports included with the SWPPP in violation of CGP Part 4.7.3. Required mitigation: Once you are authorized for coverage under the CGP, you must include a copy of your NOI submitted to the EPA along with any correspondence exchanged related to the coverage and a copy of the current CGP per CGP Part 7.2.11. You must keep a copy of all inspection reports at the site or at an easily accessible location so that they can be made immediately available at the time of an on-site inspection per CGP Part 4.7.3. | [9 empty] | 2021-05-03
2021-05-31
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | No | Latest report Date: |  | N/A
Notes:
SWPPP is mounted on the back of the posting at the north-west corner of Tract 2-A (nest to Slim Chickens)
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English 505-924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action