March 29, 2013

Fred C. Arfman, P.E.

Isaacson & Arfman, P.A.

128 Monroe St NE

Albuquerque, NM 87108

Re:	Washington Federal, 3000 Eubank

Conceptual Grading Plan

Engineer’s Stamp Date - None (G21D012F)

Dear Mr. Arfman,

Based upon the information provided in your submittal received 3/13/2013, the above referenced plan is approved for Administrative Amendment.  The following comments have to be addressed prior to an approval for Building Permits:

- Provide runoff calculations.

- Include a note where the existing driveway will be closed.

- Depress the landscaping areas within the property.

- Add the size of the proposed sidewalk culvert.  Include City of Albuquerque Standard Drawing Number 2236 along with the note “to tack weld the plate at bolts”.

- Include the flow line elevations in the street at the entrances to assure adequate water block is provided.  Are the existing driveway built to ADA standards.

- Provide the back of sidewall spot elevations as well as the spot elevations along the boundary line to the east and to the north.

- Is there a retaining wall at the northwest corner of the project?  A double line is shown along the easterly boundary.  Is this an existing wall?

- Is there a transformer and light close to the northeast corner of the site that is being relocated?

- Include an elevation for the bench mark shown on the plan.

- Are the hatches close to the entrances speed bumps?  Please clarify.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail