May 10, 2013

Richard J. Berry, Mayor

Fred Arfman, P.E.

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, New Mexico  87108

RE:	Mitchell Elementary - School Cafeteria Addition			G21-D033

Grade & Drain Plan for SO-19 & Building Permit 		PE Stamp:  5/6/2013

Dear Mr. Arfman:

Based upon the information provided in your submittal received 05-07-2013, the above referenced Grading and Drainage Plan is approved for SO-19, Private Improvements in Public R/W and for Building Permit.

Please include a copy of this Grading Plan in the Building Permit plan set, prior to seeking Hydrology signoff.

A separate Excavation/Barricading Permit is required for SO-19 construction within City ROW.  A copy of this approval letter must be on hand when applying for the permit.  To obtain a Certificate of Occupancy, the storm drain work in the City R/W must be inspected and accepted.  Please contact Jason Rodriguez, 857-8074, to schedule an inspection.

Prior to Certificate of Occupancy release by Hydrology, an Engineer’s Certification of the Grading Plan per the DPM checklist will be required.

If you have questions, please email me at grolson@cabq.gov or phone 505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  G21/D033

c.pdf	Addressee via Email  FredA@iacivil.com

Antoinette Baldonado, Excavation and Barricading, ABaldonado@cabq.gov

Jason Rodriguez, Street/Storm Drain Maintenance,  JTRodriguez@cabq.gov