October 20, 2016

David Tull, P.E.

Superior Stormwater Services, LLC

8505 Paseo Alameda NE

Albuquerque, NM 87113

Re:	Stormcloud Subdivision Units 4A and 4B

Erosion Sediment Control Plan

Engineer’s Stamp Date 9-23-16 (H09E022A)

Dear Mr. Tull,

Based upon the information provided in your submittal received 10-05-16 the above referenced plan is approved to be included in the SWPPP and to apply for an ESC permit for grading and to be included in the Work Order construction plans with the following conditions:

1. Due to steep street slopes (4.5%), mulch socks/check structures should be placed at the side of the road during grading and in the front yard swale after the streets are built.

2. A stilling basin should be constructed in the arroyo similar to the Mirehaven Arroyo project upstream of this location, if the storm drain is constructed prior to the arroyo construction (by others) being complete.

In the future, please include street slopes on all streets.

Include a copy of the approved plan in the Work Order construction plans.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C:	email